INFORMATION ABOUT CAPACITY OF THE LABORATORY FOR BIOTECHNOLOGY, PI AGRICULTURAL INSTITUTE OF REPUBLIC OF SRPSKA

List of devices and equipment for laboratory analysis

| Red. br. | Name | Producer | Model, year of production | Capacity | Serial number |
| --- | --- | --- | --- | --- | --- |
|  | PCR device Mastercycler | Eppendorf, Germany | Ep gradient S, 2005 | 96 wells | 345 004469 |
|  | Real Time PCR | Agilent Technologies, Germany | Stratagene Mx3005P, 2012 | 96 wells | DE10901356 |
|  | Biofotometar (UV visible) | Eppendorf- Germany | - | 220 to 750 nm /0.000-3.000 A | 613122341 |
|  | Termal printer | SII Seiko Instrument Inc., Japan | DPU 414 3 0B, 2005 | - | 3063836 B |
|  | Nanophotometar | Implen, Germany | Pearl, 2012 | 190-1100 nm | 3625 |
|  | Mikrocentrifuge | Eppendorf, Germany | 5415 D, 2005 | 24 x 1,5/2ml, with adapters 11000 rpm | 5425 no. 0061315 |
|  | Mikrocentrifuge | ThermoScientific, Germany | Espresso, 2013 | 14000 rpm | 0061315 |
|  | Mini centrifuge | Eppendorf, Germany | 5452 | 13400 o/min | 5452EK683419 |
|  | Centrifuge | Eppendorf, Germany | 5417 R, 2005 | 6 adapters 11000 rpm, with cooling | 5407 no. 0018073 |
|  | Centrifuge | Hettich, Lab Technology, Germany | Universal 320 R, 2012 | 15000 rpm with cooling | 1797 0004619-02-00 |
|  | Centrifuge | MPW med. Instruments, Poland | MPW-380/R, 2013 | 18000 rpm | 10380R009913 |
|  | Horizontal electrophoresis | Serva, Germany | BlueMarine 200, 2005 | 16 samples | 1483 |
|  | Horizontal electrophoresis | BioRad, Germany | Mini Subcell GT Model 96 i 192, 2011 | 24–96 samples | 258BR007718 |
|  | Vertical electrophoresis | Serva, Germany | BluePower 500, 2005 | 10 samples | 1485 |
|  | Microchip electrophoresis | Shimatzu, Japan | MC – 202 Multi NA, 2013 | 96 wells | U20074900730 |
|  | Device for gel documentation with computer | Vilber Lourmat, France | Quantum-ST4, 2012 | 230 V, 50/60 Hz | 12200039 |
|  | Device for ice preparing | ALS, Angelantoni Lifescience, Italy | CA 30, 2103 | - | LS 03858 |
|  | Analytical scale | OHAUS UK Ltd, USA | AdventurerTM, 2005 | 210/0,0001 | 1203320398 |
|  | Techical scale | OHAUS UK Ltd, USA | Explorer, 2005 | 2.100/0,01 | 1120172523 |
|  | Techical scale | Kern, Germany | Kern EW 4200 2NM, 2012 | 4200/ 0,5g | 111319110 |
|  | Autoclave | Sanyo, Japan | MIS-3020V, 2005 | 105-121°C | 970213 |
|  | Autoclave | Raypa Espinar, Spain | AES- 75, 2012 | 100-139°C | 12106 |
|  | Autoclave | Tuttnauer Ltd., Israel | 5075 ELVCPVG, 2013 | 80-176°C | 13070603 |
|  | Laboratory fridge | Candy, Croatia | Hoover, 2001 | 280 l/do -20°C | 1476 |
|  | Laboratory fridge | Candy, Croatia | 2004 | 280 l/do -20°C |  |
|  | Laboratory fridge | ThermoScientific, Germany | R-134a, 2011 | 500 l/0 -20°C | 0116056001110615 |
|  | Ultracentrifugal mill / UCM | Retsch GmbH, Germany | ZM 200, 2012 | < 40 µm u zavisnosti od materijala i sita, 6,000 – 18,000 rpm | 1211041104N |
|  | Microwave | Carl Roth, Germany | Severin 800, 2005 | 20 l/800 W | 7808 |
|  | Microwave | Severin | Severin 700, 2012 | 20 l/700 W | 7838 |
|  | Magnetic stirerr | Nahita, Japan | 690-5, 2005 | 0-2000 o/min | C4451 |
|  | Magnetic stirerr | IKA® -WERKE GMBH & CO.KG, Germany | RH-Basic 2, 2012 | 100-2000 rpm | 01.776921 |
|  | Vortex | Nahita, Japan | 681/5, 2005 | 0-2800o/min. | A57156 |
|  | Vortex | IKA ® -WERKE GMBH & CO.KG, Germany | MS. 3 basic, 2012 | 0-3000 rpm | 03.354162 |
|  | pH meter | WTW, Germany | pH 315i, 2003 | 2-16 pH | 0048 |
|  | Micropipets | Eppendorf, Germany | Research family, 2005 | 0,1-2,5 µl, | 3644344 |
|  |  |  |  | 0,5-10 µl, | 3624074 3627394 |
|  |  |  |  | 2-20 µl, | 2514454 |
|  |  |  |  | 2x10-100 µl, | 2513494 2514454 |
|  |  |  |  | 2x100-1000 µl, | 3773074 3776234 |
|  |  |  |  | 0,1-2,5 µl | H11997D |
|  | Micropipets | Thermo Scintific, Germany | Finpippete, 2012 | 1-10 µl, | LH26836 |
|  |  |  |  | 2-20 µl | LH24671 |
|  |  |  |  | 10-100 µl | LH26960 |
|  |  |  |  | 100-1000 µl | LH27255 |
|  |  |  |  | 0,5-5000 µl | LH30376 |
|  | UV lamp (2) | - | Germicidna zidna | - | - |
|  | Termomixer | Eppendorf, Germany | Termomixer comfort, 2005 | 300-1500 rpm sa hlađenjem | 5355 36561 |
|  | Termostat plus | Eppendorf, Germany | ThermoStat plus™, 2003 | -5°C to 99°C | 41290932 |
|  | Ultra purewater system | Thermo Scientific, Germany | TKA Smart2Pure, 2012 | 3 l/h ili 6 l/h | 1810 |
|  | Device for deionization of water | Thermo Scientific, Germany | TKA DI 15000,2011 | 1500 l na 12.5eH TDS | 1794 |
|  | Laminar chamber | Thermo Scientific, Germany | MSC 0.9, 2011 | 914 m3/ h | 51028329 |
|  | Digestor | Köttermann Systemlabor, Germany | 2-453-DANB, 2013 | - | 2-435016139 |
|  | Ultra deep frizer (-80(C) | Thermo Fisher Scientific, Germany | ULT2186-4-V4, 2011 | 570 l, od -50°C do -86°C | 0128754901091123 |