Draft outline for the content of regional and sub-regional training workshops on the detection and identification of LMOs.

- Overview of the CPB

- History, Objective and scope of the Protocol

- Uses of LMOs

  - LMOs for intentional introduction into the environment - Advance Informed Agreement (AIA)

  - LMOs for direct use as food, feed, or for processing

- Competent National Authorities

- Biosafety-clearing House

- Detection and identification of LMOs

  - Relation to articles of the Protocol

  - Links to detection methods

- Drivers for detecting LMOs

- National and international regulatory contexts

- Other international agreements (SPS agreement, etc)

- Application and impact of detection methods in trade

- Overview of LMO developments

Goal: To understand how LMOs are developed, grown and traded.

- (assumed knowledge?) Commonly used transformation methods

- Selection of an event and breeding and producing the seed that is grown by farmers

- Testing along the LMO product life cycle (introduction, use and discontinuation)

- Most common LMOs currently being traded, and prospects for the near future

- Sampling and challenges to detect trace amounts of LMOs

Goal: to understand the critical role of sampling in a testing program, and the uncertainties that are inherent in obtaining a sample, especially when attempting to detect trace concentrations of LMOs.

- Principle of sampling

- Uncertainty introduced by sampling and illustration of how two samples from the same seed or grain lot are unlikely to be identical  (hands on demonstration)

- Sampling of seed and plants (including control of cross contamination between samples)

- Handling and Sampling of large (commodity) shipments

- Difficulties in identifying and quantifying trace amount of GMOs and where ‘zero tolerance’ is unmanageable due to sampling considerations

- Practical exercise in sampling

- Techniques for detection and identification

Goal: To strengthen participants’ understanding of the technologies, methodologies and platforms appropriate to the work being conducted in LMO detection and identification as they relate to DNA and/or protein based analysis. (Assumption: Participants have a working knowledge of the fundamental scientific basis of molecular biology.)

- Experimental design and selection of methods in practice according to the purpose of the analysis

- Sample handling and preparation

- Overview of different methods, including their advantages and disadvantages

4.1 Protein-based methods

- Lateral Flow Strip: Sample preparation, analysis of results (practical exercise)

- ELISA: Protein extraction, reaction

- Analysis of results

4.2 DNA-based methods

- DNA isolation (practical exercise)

- End-point PCR and gel electrophoresis (practical exercise)

- Real-time PCR (demonstration)

- Quantification

- Analysis of results (use of matrices, statistics, etc)

4.3 Choice of methods

- Developing a sampling and testing plan which is fit for purpose.

- Choice of methods and sources of methods, and freedom to practice

- International standards

Goal: To understand the role that standards can and do play in harmonizing processes and methods especially in relation to transboundary movements.

- ISO Standards

- Codex Standards and guidelines (Methods and LLP)

- Role of Standards Developing Agencies

- Quality assurance/quality control standards

Goal: To ensure participants are aware of best practices for QA/QC as they apply to LMO detection and identification and have an understanding of certification/ accreditation procedures so that they can design appropriate laboratory workspaces and documentation procedures.

- Lab set-up requirements and lab environment

- Method validation

- Proficiency Tests

- Overview of relevant accreditations and ISO standards (e.g. ISO17025) and ISTA guidelines

- Documentation requirements

- Non-conformances and Corrective Actions

- Equipment calibration and maintenance

- Laboratory documentation policy (paper and/or electronic)

- Reporting

Goal: To provide instruction to participants on reporting analytical results or issuing written notifications according to the laboratory's policy, and in compliance with national and international regulations and practices

- Laboratory policy on sample file content

- Report writing, sections and contents

- Technical and Administrative Review

- Report issuance according to laboratory policy

- Compliance with national and international standards on reporting

- Confidentiality/disclosure of information

- References

- Sampling of grain and seed to estimate the adventitious presence of biotechnology-derived seeds in a lot. Freese et. al.. Ceareal Foods World  V60, No.1, 2015 (http://www.aaccnet.org/publications/Documents/CFW-60-1-0009-EP.pdf)

- Sampling for the Detection of Biotech Grains (http://www.gipsa.usda.gov/fgis/biotech/sample2.htm)

- Immunoassay as an Analytical Tool in Agricultural Biotechnology. GROTHAUS ET AL.: JOURNAL OF AOAC INTERNATIONAL VOL. 89, NO. 4, 2006 (http://www.aeicbiotech.org/WhitePapers/AEICproteinpaper_2006.pdf)

- Polymerase Chain Reaction Technology as Analytical Tool in Agricultural Biotechnology. LIPP ET AL.: JOURNAL OF AOAC INTERNATIONAL VOL. 88, NO. 1, 2005 (http://www.aeicbiotech.org/WhitePapers/polychnrctn.pdf)

Standards and Guidelines

- ISO/IEC 17025:2005 General requirements for the competence of testing and calibration laboratories (http://www.iso.org/iso/catalogue_detail.htm?csnumber=39883)

- ISO TC 34/SC 16 and their Standards for Molecular Biomarker Analysis (http://www.iso.org/iso/standards_development/technical_committees/other_bodies/iso_technical_committee.htm?commid=560239) 
http://www.iso.org/iso/home/store/catalogue_tc/catalogue_tc_browse.htm?commid=560239)

- Codex CAC/CL 74-2010: guidelines on Performance and Validation of Methods (http://www.codexalimentarius.net/download/standards/11667/CXG_074e.pdf)

- EURL Definition of minimum performance requirements for analytical methods of GMO testing (http://gmo-crl.jrc.ec.europa.eu/doc/Min_Perf_Requirements_Analytical_methods.pdf)

- ISO 542:1990 - Oilseeds – Sampling (http://www.iso.org/iso/catalogue_detail.htm?csnumber=4619)

- GIPSA Grain Inspection Handbook - Book I Grain Sampling (http://www.gipsa.usda.gov/Publications/fgis/handbooks/gihbk1_insphb.html)

- GIPSA Mechanical Sampling Systems Handbook (http://www.gipsa.usda.gov/publications/fgis/handbooks/mech_insphb.html)