Draft outline for the content of regional and sub-regional training workshops on the detection and identification of LMOs.

1. Introduction

Overview of the CPB

- History

- What is Biosafety?

- What are living modified organisms?

- Objective and scope of the Protocol

- LMOs for intentional introduction into the environment - Advance Informed Agreement (AIA)

- LMOs for direct use as food, feed, or for processing

- Competent National Authorities

- Detection and identification as it relates to various articles of the Protocol

- Biosafety-clearing House and links to detection methods

2. Why the need detect LMOs?

- Working within a national regulatory context

- Other international agreements (SPS agreement, etc)

3. Brief introduction to genetic modification of living organisms

- DNA, RNA and protein synthesis

- Commonly used transformation methods

- Most common LMOs currently being traded

4. Techniques for detection and identification

Goal: To strengthen participants’ understanding of the technologies, methodologies and platforms appropriate to the work being conducted in LMO detection and identification as they relate to DNA and/or protein based analysis. (Assumption: Participants have a working knowledge of the fundamental scientific basis of molecular biology.)

  - Sampling strategies

- Experimental design and selection of methods in practice according to the purpose of the analysis and goods under investigation

- Sample handling and preparation

- Applicability of matrices

4.2 Protein-based methods

- Overview of different methods, including their advantages and disadvantages

- Protein sample preparation

- Lateral Flow Strip and ELISA techniques

- Interpretation of results

- Limitations of protein-based methods (e.g. cross-reacting antibodies, lack of specific antibodies, sensitivity, availability of commercial kits, etc)

- Analysis of results

4.3 DNA-based methods

- Overview of different methods, including their advantages and disadvantagespositive, reference materials, replicates, etc)

- DNA extraction/isolation and handling procedures (analysis of DNA samples quality)

- PCR-based screening strategies (matrix approach)

- Qualitative PCR methods (end-point PCR and gel electrophoresis; real-time PCR)

- Quantitative PCR methods (real-time PCR for relative and absolute quantification)

- Interpretation of results (LOD, LOQ, statistics, etc)

- Limitations of DNA-based methods (e.g. lack of DNA sequence information, lack of reference material, etc).

4.4 Other novel technologies/strategies for LMO Detection

- Novel approaches for simultaneous detection of multiple LMOs

- Sequencing strategies, LAMP, etc.

- Detection of RNA species

5. Introduction to the quality assurance/quality control standards

Goal: Participants are to be aware of best practices for QA/QC as they apply to LMO detection and identification and have an understanding of certification/ accreditation procedures. Participants can design appropriate workspace with laboratory provided and documentation procedures.

- Lab set-up requirements and lab environment

- Method set-up and verification of performance

- Requirements for experimental quality assurance ((e.g. negative, positive controls, reference materials, replicates, etc.)

- Documentation requirements

- Non-conformances and Corrective Actions

- Minimal standard criteria and proficiency tests

- Equipment calibration and maintenance

- Non-conformances and Corrective Actions

- Access to information and certified reference materials

- Laboratory documentation policy (paper and/or electronic)

- Overview of relevant accreditations and ISO standards

6. Reporting

Goal: To provide instruction to participants on reporting analytical results or issuing written notifications according to the laboratory's policy.

- Laboratory policy on sample file content

- Report writing, sections and contents

- Technical and Administrative Review

- Report issuance according to laboratory policy

- Confidentiality/disclosure of information according to laboratory policy